## Report info
Field | Value
Dataset | FLEET (real) — measured telemetry from live stations only; no simulation, no archive data
Settlement window | 2026-08 through 2026-08
Generated at (UTC) | 2026-09-03 11:15
Data through (measured rows) | 2026-08-31 21:59 UTC
Methodology version | 2026-09-02.2
Flat baseline rate | 12.50 ct/kWh (Annex: 12.5 unless otherwise agreed)
Supplier adder on dynamic price | 0.00 ct/kWh — dynamic € figures include NO adder
Battery wear rate | 3.50 ct/kWh of shifted throughput
Price sources (measured rows) | IDM 100.0% / DAM fallback 0.0%
Measured months in range | 2026-08 (Gifhorn), 2026-08 (Gronau), 2026-08 (Norderstedt)
Counterfactual methodology | Annex A6 grid-first simulation on the station's own measured frames and market prices; every row is fully measured (no simulation)
Station-month provenance | 3 station-months, all measured from station telemetry
Sessions | Real charge events from the per-connector energy counters

## Monthly totals
Month | Stations | Grid import kWh | EV delivered (C1+C2) kWh | AUX (ChargePost) kWh | Sessions | Flat € | Flat rate applied ct/kWh | Dynamic € without load shifting (A6.2) | Dynamic € as run (A6.1) | Procurement saving € | Wear € without load shifting (A4.2) | Wear € as run (A4.1) | Extra wear € (A6.3) | Net € | Load-shift gain € | Timing value € | Shifted kWh
2026-08 | 3 | 14568.5 | 11044 | 3823.2 | 325 | 1821.0625 | 12.5 | 1537.5701 | 1283.9283 | 537.1342 | 277.2337 | 417.4852 | 140.2515 | 396.8827 | 113.3903 | 253.6417 | 4007.1848
TOTAL | 3 | 14568.5 | 11044 | 3823.2 | 325 | 1821.0625 | 12.5 | 1537.5701 | 1283.9283 | 537.1342 | 277.2337 | 417.4852 | 140.2515 | 396.8827 | 113.3903 | 253.6417 | 4007.1848

## Stations (range)
Station ID | City | ZIP | Brand | Site class | Months reported | Grid import kWh | EV delivered (C1+C2) kWh | AUX (ChargePost) kWh | Sessions | Flat € | Flat rate applied ct/kWh | Dynamic € without load shifting (A6.2) | Dynamic € as run (A6.1) | Procurement saving € | Wear € without load shifting (A4.2) | Wear € as run (A4.1) | Extra wear € (A6.3) | Net € | Load-shift gain € | Shifted kWh
chargepost_gronau_001 | Gronau |  |  | EV-only | 1 | 6630.7 | 5162.8 | 1404.9 | 155 | 828.8375 | 12.5 | 719.8489 | 568.4917 | 260.3458 | 132.0791 | 201.5962 | 69.5171 | 190.8287 | 81.8401 | 1986.2031
chargepost_gifhorn_001 | Gifhorn |  |  | EV-only | 1 | 3319.7 | 2748.6 | 558.3 | 72 | 414.9625 | 12.5 | 311.932 | 259.5306 | 155.4319 | 72.2156 | 88.774 | 16.5585 | 138.8735 | 35.843 | 473.0987
chargepost_norderstedt_001 | Norderstedt | 22848 | Selgros | EV-only | 1 | 4618.1 | 3132.6 | 1860 | 98 | 577.2625 | 12.5 | 505.7891 | 455.9061 | 121.3564 | 72.9391 | 127.115 | 54.1759 | 67.1805 | -4.2928 | 1547.883

## Station-months
Month | Station ID | City | ZIP | Brand | Volume basis | Measured | Grid import kWh | EV delivered (C1+C2) kWh | AUX (ChargePost) kWh | Sessions | Sessions basis | Flat € | Flat rate applied ct/kWh | Dynamic € without load shifting (A6.2) | Dynamic € as run (A6.1) | Procurement saving € | Wear € without load shifting (A4.2) | Wear € as run (A4.1) | Extra wear € (A6.3) | Net € | Load-shift gain € | Shifted kWh | IDM share | DAM share | Data through | Methodology | Computed at
2026-08 | chargepost_gifhorn_001 | Gifhorn |  |  | Measured (telemetry) | yes | 3319.7 | 2748.6 | 558.3 | 72 | charge events (per-connector counters) | 414.9625 | 12.5 | 311.932 | 259.5306 | 155.4319 | 72.2156 | 88.774 | 16.5585 | 138.8735 | 35.843 | 473.0987 | 100% | 0% | 2026-08-31 21:59 | 2026-09-02.2 | 2026-09-03 09:14
2026-08 | chargepost_gronau_001 | Gronau |  |  | Measured (telemetry) | yes | 6630.7 | 5162.8 | 1404.9 | 155 | charge events (per-connector counters) | 828.8375 | 12.5 | 719.8489 | 568.4917 | 260.3458 | 132.0791 | 201.5962 | 69.5171 | 190.8287 | 81.8401 | 1986.2031 | 100% | 0% | 2026-08-31 21:59 | 2026-09-02.2 | 2026-09-03 09:14
2026-08 | chargepost_norderstedt_001 | Norderstedt | 22848 | Selgros | Measured (telemetry) | yes | 4618.1 | 3132.6 | 1860 | 98 | charge events (per-connector counters) | 577.2625 | 12.5 | 505.7891 | 455.9061 | 121.3564 | 72.9391 | 127.115 | 54.1759 | 67.1805 | -4.2928 | 1547.883 | 100% | 0% | 2026-08-31 21:59 | 2026-09-02.2 | 2026-09-03 09:14

## Definitions
Term | Unit | Annex clause | Definition | Formula
Site |  | A1 | The Amperio ChargePost installation: two DC charging connectors (C1, C2), two battery storage strings (B1, B2), auxiliary (hotel) load, and one grid connection point.
Settlement window |  | A1 | The date range over which a report is computed. A window ending on the current day is clipped at the last ingested Frame (the data-through timestamp).
Measured station-month |  | A2.1 | A station-month whose volumes come from the station's own high-resolution telemetry (Frames) in the archive. Sessions are counted from session records.
Archive station-month |  | A2.1 | A station-month whose volumes come from the operator's historical energy archive (daily/hourly totals) rather than Frames. Priced block-for-block on the same IDM history; sessions are estimated. Synthetic, seasonal and zero-volume months are excluded — they never produce rows.
Grid import | kWh | A1, A2.2 | Metered energy drawn from the grid at the connection point, integrated over all Frames in the window at full metering resolution. Includes EV charging, battery charging and auxiliary load. | GridImport = Σ max(P_grid, 0) · Δt
EV delivered | kWh | A1, A7.3 | Energy delivered to vehicles, read from the metered per-connector energy counters (C1 + C2). Never derived from the power balance, which would absorb the auxiliary load and phantom-inflate EV energy when no car is charging. | EVdelivered = ΔE_C1 + ΔE_C2 (per-connector counters)
AUX (hotel load) | kWh | A7.2 | Auxiliary (hotel) load of the ChargePost — non-dispatchable grid draw the battery cannot offset. Included in Grid import on both sides of every comparison and reported separately so it is never mistaken for EV energy. | AUX = GridImport − EVdelivered − BatteryCharge + BatteryDischarge
Site load (EV + AUX) | kWh | A7.2 | Total energy consumed at the site: EV delivered plus auxiliary load. Equals Grid import net of battery charge/discharge. | SiteLoad = EVdelivered + AUX
Sessions |  | A2.1 | Number of charging sessions. Measured months count session records; archive months without session records show an estimate from rising edges of metered EV power above 5 kW ("≈ n (estimated)").
Flat rate | ct/kWh | A1 | The reference flat retail tariff in ct/kWh (default 12.5 ct/kWh unless otherwise agreed), representing procurement without a dynamic tariff.
Dynamic tariff |  | A1 | Per-slot pricing indexed to the intraday market: each Slot's kWh is priced at that Slot's IDM price, plus any contractually agreed adder.
Price-source mix (IDM / DAM) | % of kWh | A3.1 | Share of kWh priced on the live IDM intraday price vs. the day-ahead (DAM) fallback, on the same energy basis as the meter total. Residual gaps carry the last resolved price forward.
Procurement — at Flat rate | € | A3.3 | Assumed procurement cost of the window's Grid import had it all been bought at the reference Flat rate — the tariff the site would be on without the Dynamic tariff. | Cost_flat = kWh_total × FlatRate
Counterfactual import (no load shifting) | kWh | A6.2, A6.3 | Grid import of the grid-first counterfactual simulated over the identical Frames, anchored to measured SOC at both window edges. Must approximately equal the actual Grid import (energy conservation) — only the timing differs.
Procurement — without load shifting | € | A6.2 | Assumed procurement cost on the Dynamic tariff had the battery NOT load-shifted: the grid-first counterfactual's import (same Frames, same per-slot prices, SOC anchored at both window edges) priced slot by slot. Differs from the as-run cost only through WHEN energy was bought. | Cost_counterfactual = Σ_slots (kWh_cf_slot × price_slot) + adder × kWh_total
Procurement — with load shifting (as run) | € | A3.2 | Procurement cost actually incurred under the Dynamic tariff with the battery load-shifting as it did — a true per-slot summation of each Slot's metered kWh at that Slot's price, never an average-price shortcut. | Cost_dynamic = Σ_slots (kWh_slot × price_slot) + adder × kWh_total
Procurement saving | € | A5.1 | Energy-cost saving of the Dynamic tariff versus the Flat rate over the window, before battery wear. | EnergySaving = Cost_flat − Cost_dynamic
Battery wear — without load shifting | € | A4.2 | Assumed battery cycling cost had the battery NOT load-shifted: the grid-first counterfactual's throughput — only the unavoidable peak-shaving cycling the 90 kW grid cap forces — priced at 3.5 ct/kWh. Unknown ("—") for archive months, which carry no measured battery series. | Wear_noLS = Σ ¦P_battery,cf¦ · Δt × 3.5 ct/kWh
Battery wear — with load shifting (as run) | € | A4.1 | Battery cycling cost actually incurred with the battery load-shifting as it did: the full measured throughput of the window priced at 3.5 ct/kWh. | Wear_asRun = Σ ¦P_battery¦ · Δt × 3.5 ct/kWh
Extra wear from load shifting | € | A4.2, A5.1 | Wear with load shifting (as run) minus wear without load shifting (unavoidable peak-shaving cycling only) — the wear attributable to load shifting. This, not the as-run wear, is what Net total saving charges against the Procurement saving. | ExtraWear = Wear_asRun − Wear_noLS
Net total saving | € | A5.1, A5.2 | The headline settlement figure: Procurement saving minus the extra battery wear that load shifting incurs. Contains both the market-level effect of the tariff switch and the Algorithm's timing value. | NetTotalSaving = EnergySaving − ExtraWear
Load-shifting contribution | € | A6.2, A6.4 | The Algorithm's attributable contribution within Net total saving: Timing value net of the extra wear it caused. May be near zero or negative on flat-price days; such results are reported as computed. | LoadShiftingContribution = TimingValue − ExtraWear
Timing value | € | A6.2 | Cost of the grid-first counterfactual minus the actual Dynamic-tariff cost, both priced at the same per-slot prices — the value created purely by deciding WHEN energy is bought. | TimingValue = Cost_counterfactual − Cost_dynamic
Daily IDM spread | ct/kWh | A6.4 | Average over the window of each day's (max − min) 15-minute IDM price. A flat profile (low spread) leaves no room to shift into; the contribution may legitimately be near zero or negative on such days. | Spread = mean_days(max(price_slot) − min(price_slot))
Day verdict |  | A3, A6.4 | Market classification of a day against the fleet's weighted Flat rate: Favorable (average IDM below flat), Headwind (average above flat but some slots below), Guaranteed loss (even the cheapest slot costs more than flat — no dispatch strategy can win).
Data-through |  | A8.1, A8.2 | Timestamp of the last Frame included in the report. A window that includes the current day continues to fill until the day completes; final settlement uses completed days only.